Commonwealth of Kentucky

###### Public Service Commission

211 Sower Blvd.

P.O. Box 615

Frankfort, Kentucky 40602-0615

QUARTERLY METER REPORT – ELECTRIC

SEND TO THE KENTUCKY PUBLIC SERVICE COMMISSION METER STANDARDS LABORATORY

NAME OF UTILITY: 				     	QUARTER:

TEST YEAR:                                                   		    	DATE SUBMITTED:

ACCOUNT STATISTICS

| CUSTOMER TYPE | METERED | NON-METERED | TOTAL |
| --- | --- | --- | --- |
| RESIDENTIAL |  |  |  |
| COMMERCIAL |  |  |  |
| INDUSTRIAL |  |  |  |
| OTHER |  |  |  |
| TOTALS |  |  |  |

ALL METERS TESTED THIS QUARTER	       					          TOTALS

| METERS TO BE TESTED THIS YEAR PER PSC APPROVED SAMPLE TESTING PLAN. (1Ø) |  |
| --- | --- |
| 1. METERS TESTED THIS QUARTER PER PSC APPROVED SAMPLE TESTING PLAN. (1Ø) |  |
| METERS TESTED TO DATE (THIS YEAR) PER APPROVED SAMPLE TESTING PLAN. (1Ø) |  |
| 2. METERS TESTED ON PERIODIC SCHEDULE OR FOR ANY OTHER REASON. (1Ø OR 3Ø) |  |
| 3. NEW METERS TESTED THIS QUARTER. (1Ø OR 3Ø) |  |

METER TEST RESULTS FOR THIS QUARTER

| METER CATEGORY | METER TEST RESULTS |
| --- | --- |
|  | WITHIN ± 2 % | › 2 % FAST | › 2 % SLOW | NON-REGISTERING |
| 1. SAMPLE |  |  |  |  |
| 2. PERIODIC/OTHER |  |  |  |  |
| 3. NEW METERS |  |  |  |  |
| TOTALS |  |  |  |  |

BILLING AND REFUND INFORMATION                                                                               UNDETERMINED

| NUMBER OF TEST MADE AT CUSTOMER’S REQUEST |  |
| --- | --- |
| NUMBER OF TEST MADE AT COMMISSION’S REQUEST |  |
| NUMBER OF FAST METERS ON WHICH REFUNDS WERE MADE |  |  |
| TOTAL AMOUNT OF REFUNDS MADE DURING THIS QUARTER |  |
| NUMBER OF CUSTOMERS BILLED ON SLOW METERS |  |  |
| TOTAL AMOUNT BILLED ON SLOW METERS |  |
| NUMBER OF CUSTOMERS BILLED FOR NON-REGISTERING METERS |  |  |
| TOTAL AMOUNT BILLED ON NON-REGISTERING METERS |  |

INDICATE TESTING PROGRAM USED FOR SINGLE PHASE METERS, SAMPLE OR PERIODIC:

IF SAMPLE PROGRAM LIST CASE #: 				# OF GROUPS:

UTILITY OR APPROVED AGENCY PERFORMING METER TESTING:

DO YOU HAVE METERS IN SERVICE OUTSIDE THE REQUIRED TESTING PERIOD?  YES:		    NO:

IF YES, ATTACH A REPORT ON HOW THESE METERS REMAINED IN SERVICE PAST THE REQUIRED TEST PERIOD.

METER TESTING INFORMATION APPROVED BY:           CUSTOMER AND REFUND INFORMATION APPROVED BY:

SIGNATURE: 				             SIGNATURE:

TITLE:           	     TITLE:

PLEASE FILE IN A TIMELY MANNER, NO LATER THAN THE END OF THE FOLLOWING QUARTER

PLEASE PROVIDE ALL REQUESTED INFORMATION ON THIS FORM

Quarterly Meter Report

Revised 8/24/2011